## Sheet1
ANNEXURE III PRICE BID FOR STEAM BOILER DOC NO KAPL/BDP/CG/3251
KARNATAKA ANTIBIOTICS & PHARMACEUTICALS LTD. |  | 7ACA PROJECT AT UJJAIN (M.P.) |  |  |  |  | DOSHI CONSULTANTS PVT. LTD.
Sl. No | Description of Item | Unit | Quantity (Nos.) | Unit Price |  | Amount in Rs |  | Total Amount in Rs
|  |  |  | Supply | Installation | Supply | Installation
1 | PRICE
Design, Engineering & Supply of Boilers (along with D&E Details for the Complete Boiler System), including insulation, standard accessories as per Detailed Scope Sheet (attached) & IBR Folder (@Certification) of Supplied Items),unloading, installation and commissioning etc. in accordance with technical specification and requirement Section VIII of this tender and technical data Sheet
1.1 | Boiler 12 TPH at F&A 100 Deg C @ 10.54 Kg/cm2 suitable for HSD / NG | No | 3
1.2 | HSD / NG Fuel fired pressure Jet burner | No | 3
1.3 | IMCC Panel | No | 3
1.4 | ICP Panel | No | 3
1.5 | Scads station | No | 3
1.6 | UPS for ICP panel | No | 3
1.7 | High pressure gas train | No | 3
1.8 | Three Element Control System | No | 3
1.9 | Oil Pumping Station – HSD | No | 3
1.1 | Ring Main System - HSD | No | 3
1.11 | Efficiency Monitoring system | No | 3
1.12 | Pressurized Economizer with all accessories | No | 3
1.13 | Other Accessories | No | 3
1.14 | Steam Header Accessories | No | 3
1.15 | Flue gas duking from boiler to chimney for all three boiler | Lot | 1
1.16 | MS self supported Chimney common for 3 boilers | No's | 1
1.17 | Day oil tank 5 KL with all accessories | No's | 2
1.18 | Feed water tank with accessories 20 KL | No's | 2
1.19 | Boiler house piping | Lot | 1
1.2 | Steam piping | lot | 1
1.21 | Structural Support for ducting and piping | lot | 1
1.22 | Boiler electrical | lot | 1
1.23 | Trap assembly | No | 3
1.24 | PG with cock and syphon assembly . | Lot | 1
1.25 | Chemical Dosing system common for three boiler | No | 1
1.26 | pH sensor | lot | 1
1.27 | pH controller | lot | 1
1.28 | Spares for 2 years
1.29 | First Fills lubrication of all Supply Equipment's | lot | 1
1.3 | Insulation (with Cladding) of Balance of Plant (BOP) | lot | 1
1.31 | Loading & Transportation of Boilers & Accessories to site including insurance | lot | 1
1.32 | Unloading of Boilers & Accessories at KAPL Site | lot | 1
1.33 | Erection & Commissioning of Boilers (along with Necessary Tools, Utility & Consumables) | lot | 1
1.34 | IBR Formalities (for Site Installation / Commissioning) | lot | 1
1.35 | Shop Testing & Inspection of Boilers at Supplier's Works before Dispatch | lot | 1
1.36 | Performance Guarantee Test of Boilers at KAPL Site (as listed above with Supply of Testing Instruments) | lot | 1
Total
Total Cost in figure
Total Cost in words
1.37 | Packing / forwarding freight and unloading at site
1.38 | Transit insurance
1.39 | GST
Total deliverable cost at KAPL site Ujjain
1.4 | Extra if any
1.41 | Are prices quoted firm till equipment delivery / commissioning at KAPL Ujjain SITE | Y/N
1.42 | If the above prices are subject to osculation state following
1.43 | Maximum Ceiling as % of quoted price
2 | Bid validity date
3 | Guaranteed delivery date on EX KAPL Ujjain site basis
4 | Terms of payment
4.1 | For Indigenous Item for transportation, port charges , clearance charges, unloading, installation and commissioning
15% Advance against advance bank guarantee validity of the project and to be extended on the request of KAPL or until the advances are recovered.
60% after Fat and delivery at site
15% against installation
10% after commissioning and successful handing over to KAPL
All necessary statutory deductions like GST TDS, Income Tax TDS etc. shall be applicable as per Government norms
4.2 | For Imported item
Against Letter of credit
5 | Payment schedule
Refer Clause 21 of special condition of contract
6 | Guarantees
6.1 | For satisfactory workman ship and against defective materials
6.2 | For Satisfactory performance
7 | Bank Guarantee
7.1 | For advance payment
7.2 | For performance
8 | Insurance
| Contractor all risk policies(CAR) | Required
| Erection all risk policies(EAR ) | Required
NOTE : Cost to be put in words and figure
[5 empty] | Signature |  | ___________________________
[5 empty] | Name and designation |  | ___________________________
| COMPANY SEAL | [5 empty] | ___________________________
[5 empty] | Company |  | ___________________________
[5 empty] | Date |  | ___________________________